## Level
Level
C
P
F
ff

## Fact
Fault | Code | Level | Detection time | Failure frequency
Drive train fault | C0 | C
Spindle and main bearing fault | P1 | P
Gearbox fault | P2 | P
Generator fault | P3 | P
Spindle fault | F1 | F
Main bearing fault or damage | F2 | F
Spindle lock malfunction | F3 | F
Coupling fault or damage | F4 | F
Gearbox housing fault or damage | F5 | F
Gear transmission system fault | F6 | F
Lubrication and cooling system fault of the gearbox | F7 | F
Support system fault of the gearbox | F8 | F
Mechanical fault of the generator | F9 | F
Electrical fault of the generator | F10 | F
Lubrication and cooling system fault of the generator | F11 | F
Cracking or fracture of the main shaft | f1 | ff | 2 | 3
Misalignment between the main shaft and gearbox | f2 | ff | 5 | 2
Failure or damage of bearing components (inner ring, outer ring, cage, rolling elements, and ring gear) | f3 | ff | 3.5 | 35
Insufficient fit between the main shaft and main bearing | f4 | ff | 2 | 8
Inadequate lubrication | f5 | ff | 7.25 | 54
Failure of mechanical or hydraulic components in the spindle lock | f6 | ff | 5.5 | 1
Damage to the coupling | f7 | ff | 5.5 | 13
Cracking of the housing | f8 | ff | 3 | 10
Breakage of the housing connecting bolt | f9 | ff | 6.5 | 4
Damage to the gear or ring gear | f10 | ff | 4 | 200
Damage to the shaft or bearing | f11 | ff | 3.5 | 62
Bearing raceway damage | f12 | ff | 5 | 18
Damage to the splines | f13 | ff | 3 | 26
Fault of the mechanical pump | f14 | ff | 5.5 | 15
Fault of the oil pump motor | f15 | ff | 6.5 | 54
Failure of the oil pump body | f16 | ff | 5.5 | 31
Blockage of the oil filter | f17 | ff | 7.25 | 24
Blockage of the radiator (fan) | f18 | ff | 6.5 | 51
Damage to oil pipes or oil pipe interfaces | f19 | ff | 6 | 60
Damage to sealing rings of the motor, oil pump, filter element, etc. | f20 | ff | 6.5 | 18
Leakage or seepage in the water cooling system | f21 | ff | 4 | 1
Quality issues with gearbox oil products | f22 | ff | 7.25 | 44
Aging or backward movement of the elastic support | f23 | ff | 5.5 | 200
Failure or damage of bearing components (inner ring, outer ring, cage, rolling elements, and ring gear) | f24 | ff | 4 | 344
Bearing raceway damage | f25 | ff | 5.5 | 52
Issues with bearings including poor lubrication, oil depletion, and oil leakage | f26 | ff | 6.5 | 21
Electric corrosion of generator bearings | f27 | ff | 5 | 61
Misalignment of the generator and gearbox | f28 | ff | 5 | 13
Generator sweeping chamber | f29 | ff | 0 | 16
Cracking of the generator casing | f30 | ff | 4 | 12
Three-phase unbalance in stator and rotor windings | f31 | ff | 6.5 | 119
Grounding, short circuit (open circuit), insulation damage, and overcurrent in stator windings | f32 | ff | 2 | 91
Short circuit, open circuit (disconnection), insulation damage, and overcurrent in rotor windings | f33 | ff | 3.5 | 281
Poor contact, wear, or damage between the collector ring and carbon brush | f34 | ff | 5.5 | 91
Loose or damaged electrical interface connections such as stator and rotor junction boxes and wiring blocks | f35 | ff | 5.75 | 31
Fault of the lubrication pump or oil pipe system | f36 | ff | 6 | 6
Fault of the cooling motor | f37 | ff | 5 | 11
Blockage or damage to the radiator or cooling fan | f38 | ff | 5.5 | 39
Leakage or seepage in the water cooling system | f39 | ff | 2 | 3

## Rule
Code | C0 | P1 | P2 | P3 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | f1 | f2 | f3 | f4 | f5 | f6 | f7 | f8 | f9 | f10 | f11 | f12 | f13 | f14 | f15 | f16 | f17 | f18 | f19 | f20 | f21 | f22 | f23 | f24 | f25 | f26 | f27 | f28 | f29 | f30 | f31 | f32 | f33 | f34 | f35 | f36 | f37 | f38 | f39
C0
P1 | C0: 0.05; P2: 0.5
P2 | C0: 0.39; P1: 0.1
P3 | C0: 0.56
F1 | P1: 0.05; F3: 0.2; F5: 0.2; F6: 0.4
F2 | P1: 0.94; F1: 0.2; F6: 0.4
F3 | P1: 0.01
F4 | P2: 0.02; F6: 0.3; F9: 0.3; F10: 0.1
F5 | P2: 0.02; F6: 0.3
F6 | P2: 0.37
F7 | P2: 0.36; F6: 0.7
F8 | P2: 0.24; F1: 0.2; F2: 0.4; F6: 0.3
F9 | P3: 0.44
F10 | P3: 0.51; F9: 0.3
F11 | P3: 0.05; F9: 0.5; F10: 0.1
f1 | F1: 0.6; f3: 0.4; f6: 0.2; f9: 0.2; f10: 0.2; f11: 0.2
f2 | F1: 0.4; f10: 0.2; f11: 0.2; f12: 0.2; f23: 0.2
f3 | F2: 0.36082; f2: 0.2
f4 | F2: 0.082474; f3: 0.4; f10: 0.3; f11: 0.3; f12: 0.2; f13: 0.2; f23: 0.5
f5 | F2: 0.5567; f3: 0.5
f6 | bar: F3
f7 | F4: 1; f10: 0.2; f11: 0.2
f8 | F5: 0.71429; f10: 0.3; f11: 0.3; f13: 0.3
f9 | F5: 0.28571
f10 | F6: 0.65359
f11 | F6: 0.20261; f10: 0.3
f12 | F6: 0.058824; f10: 0.3; f11: 0.3
f13 | F6: 0.084967; f10: 0.2; f11: 0.2; f12: 0.2
f14 | F7: 0.050336
f15 | F7: 0.18121; f14: 0.1
f16 | F7: 0.10403
f17 | F7: 0.080537; f14: 0.2; f15: 0.2
f18 | F7: 0.17114
f19 | F7: 0.20134
f20 | F7: 0.060403
f21 | F7: 0.0033557; f19: 0.1; f22: 0.2
f22 | F7: 0.14765; f10: 0.6; f11: 0.6; f14: 0.2; f17: 0.2; f19: 0.2; f20: 0.1
f23 | F8: 1; f10: 0.3; f11: 0.3
f24 | F9: 0.66281
f25 | F9: 0.10019; f24: 0.5
f26 | F9: 0.040462; f24: 0.5; f25: 0.2
f27 | F9: 0.11753; f24: 0.5
f28 | F9: 0.025048; f7: 0.5; f24: 0.5; f25: 0.4; f29: 0.2; f31: 0.2
f29 | F9: 0.030829; f24: 0.8; f30: 0.2
f30 | F9: 0.023121
f31 | F10: 0.19413; f27: 0.5; f29: 0.2
f32 | F10: 0.14845; f31: 0.3
f33 | F10: 0.4584; f31: 0.3
f34 | F10: 0.14845; f27: 0.5
f35 | F10: 0.050571; f32: 0.2; f33: 0.2
f36 | F11: 0.10169; f24: 0.3; f26: 0.5
f37 | F11: 0.18644
f38 | F11: 0.66102
f39 | F11: 0.050847

## Association strength
Fault | I1 | I2 | I3 | I4 | I5 | I6 | I7 | I8 | I9 | I10 | I11 | I12 | I13 | I14 | I15 | I16 | I17 | I18 | I19
Drive train fault | 0.1 | 0.4 | 0.3 | 0.3 | 0.1 | 0.1 | 0.25 | 0.3 | 0.3 | 0.15 | 0.1 | 0.1 | 0.3 | 0.3 | 0.45 | 0.45 | 0.45 | 0.4 | 0.2
Spindle and main bearing fault | I1: 0.1; I2: 0.4; I3: 0.3; I4: 0.3
Gearbox fault | I5: 0.1; I6: 0.1; I7: 0.25; I8: 0.3; I9: 0.3; I10: 0.15; I11: 0.1; I19: 0.2
Generator fault | I12: 0.1; I13: 0.3; I14: 0.3; I15: 0.45; I16: 0.45; I17: 0.45; I18: 0.4; I19: 0.2
Spindle fault | I1: 0.15; I2: 0.3; I3: 0.5; I4: 0.5
Main bearing fault or damage | I2: 0.4; I3: 0.25; I4: 0.25
Spindle lock malfunction | I2: 0.5; I3: 0.5; I4: 0.5
Coupling fault or damage | I7: 0.3; I8: 0.5; I9: 0.4
Gearbox housing fault or damage | I7: 0.3; I8: 0.15; I9: 0.15; I10: 0.05; I11: 0.05
Gear transmission system fault | I5: 0.4; I6: 0.4; I7: 0.3; I8: 0.5; I9: 0.5; I10: 0.1; I11: 0.1; I19: 0.1
Lubrication and cooling system fault of the gearbox | I7: 0.4; I10: 0.5; I11: 0.3; I19: 0.3
Support system fault of the gearbox | I5: 0.3; I6: 0.3; I8: 0.3; I9: 0.3
Mechanical fault of the generator | I13: 0.5; I14: 0.5; I18: 0.3
Electrical fault of the generator | I12: 0.1; I15: 0.3; I16: 0.3; I17: 0.3; I18: 0.5
Lubrication and cooling system fault of the generator | I15: 0.5; I16: 0.5; I17: 0.5; I19: 0.3
Cracking or fracture of the main shaft | I1: 0.3; I2: 0.3; I3: 0.5; I4: 0.5
Misalignment between the main shaft and gearbox | I2: 0.3; I3: 0.5; I4: 0.5; I8: 0.3; I9: 0.3
Failure or damage of bearing components (inner ring, outer ring, cage, rolling elements, and ring gear) | I3: 0.5; I4: 0.5; I8: 0.5; I9: 0.5
Insufficient fit between the main shaft and main bearing | I2: 0.5; I3: 0.3; I4: 0.3
Inadequate lubrication | I2: 0.5
Failure of mechanical or hydraulic components in the spindle lock | I2: 0.5; I3: 0.5; I4: 0.5
Damage to the coupling | I7: 0.3; I8: 0.5; I9: 0.4
Cracking of the housing | I7: 0.3; I10: 0.1; I11: 0.1; I19: 0.2
Breakage of the housing connecting bolt | I7: 0.3; I8: 0.3; I9: 0.3
Damage to the gear or ring gear | I7: 0.5; I8: 0.4; I9: 0.4; I10: 0.5; I11: 0.1
Damage to the shaft or bearing | I5: 0.5; I6: 0.5; I7: 0.3; I8: 0.6; I9: 0.6
Bearing raceway damage | I5: 0.5; I6: 0.5; I8: 0.6; I9: 0.6
Damage to the splines | I5: 0.3; I6: 0.3; I8: 0.3; I9: 0.3
Fault of the mechanical pump | I10: 0.5; I11: 0.5
Fault of the oil pump motor | I10: 0.5; I11: 0.4
Failure of the oil pump body | I10: 0.5; I11: 0.4
Blockage of the oil filter | I10: 0.6; I11: 0.1
Blockage of the radiator (fan) | I7: 0.5; I19: 0.5
Damage to oil pipes or oil pipe interfaces | I7: 0.4; I10: 0.1; I11: 0.1; I19: 0.3
Damage to sealing rings of the motor, oil pump, filter element, etc. | I7: 0.3; I10: 0.1; I11: 0.1
Leakage or seepage in the water cooling system | I7: 0.4; I19: 0.3
Quality issues with gearbox oil products | I7: 0.4; I10: 0.5; I11: 0.1
Aging or backward movement of the elastic support | I5: 0.3; I6: 0.3; I8: 0.3; I9: 0.3
Failure or damage of bearing components (inner ring, outer ring, cage, rolling elements, and ring gear) | I13: 0.5; I14: 0.5; I18: 0.2
Bearing raceway damage | I13: 0.5; I14: 0.5; I18: 0.1
Issues with bearings including poor lubrication, oil depletion, and oil leakage | I13: 0.4; I14: 0.4; I18: 0.1
Electric corrosion of generator bearings | I13: 0.5; I14: 0.5; I18: 0.3
Misalignment of the generator and gearbox | I5: 0.1; I6: 0.1; I13: 0.5; I14: 0.5; I18: 0.3
Generator sweeping chamber | I5: 0.1; I6: 0.1; I12: 0.1; I15: 0.5; I16: 0.5; I17: 0.5; I18: 0.5
Cracking of the generator casing | I18: 0.1; I19: 0.3
Three-phase unbalance in stator and rotor windings | I15: 0.6; I16: 0.6; I17: 0.6; I18: 0.5
Grounding, short circuit (open circuit), insulation damage, and overcurrent in stator windings | I12: 0.3; I15: 0.5; I16: 0.5; I17: 0.5; I18: 0.5
Short circuit, open circuit (disconnection), insulation damage, and overcurrent in rotor windings | I12: 0.3; I18: 0.5
Poor contact, wear, or damage between the collector ring and carbon brush | I18: 0.5; I19: 0.3
Loose or damaged electrical interface connections such as stator and rotor junction boxes and wiring blocks | I15: 0.3; I16: 0.3; I17: 0.3; I18: 0.5
Fault of the lubrication pump or oil pipe system | I13: 0.5; I14: 0.5; I18: 0.3
Fault of the cooling motor | I15: 0.5; I16: 0.5; I17: 0.5; I19: 0.5
Blockage or damage to the radiator or cooling fan | I15: 0.5; I16: 0.5; I17: 0.5; I19: 0.5
Leakage or seepage in the water cooling system | I15: 0.5; I16: 0.5; I17: 0.5; I19: 0.4